{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":32,"n_cols":7,"rows_kept":32,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","D2HND-A5A"]
[]
[]
[]
[]
["","","","","","D2HND012A5AA","D2HND018A5AA"]
["Gas","Consumption (G20)","","Min","m³/h","0.31","0.31"]
["","","","Max","m³/h","1.18","1.80"]
["","Consumption (G25)","","Min","m³/h","0.36","0.36"]
["","","","Max","m³/h","1.38","2.09"]
["","Consumption (G31)","","Min","m³/h","0.12","0.12"]
["","","","Max","m³/h","0.46","0.69"]
["","NOx class","","","","6","6"]
["","NOx level (G20)","","","mg/kWh","10","18"]
["Central heating","Heat input Qn (net calorific value)","Nom","Min","kW","2.9","2.9"]
["","","","Max","kW","11.1","16.9"]
["","Heat input Qn (gross calorific value)","Nom","Min","kW","3.2","3.2"]
["","","","Max","kW","12.3","18.8"]
["","Output Pn at 80/60°C","","Min","kW","2.8","2.8"]
["","","","Nom","kW","10.8","16.4"]
["","Output Pnc at 50/30°C","","Min","kW","3.1","3.1"]
["","","","Nom","kW","12.0","18.0"]
["","Output at 37/30°C","","Nom","kW","3.6","5.5"]
["","Water temperature","","Max","°C","100","100"]
["Space heating","General","","Seasonal space heating eff. class","","A","A"]
["Supply air","Concentric","","","","Yes","Yes"]
["Flue gas","Temperature","","Max","°C","60","68"]
["","Mass flow (G20)","","Max","kg/h","18.4","28.0"]
["","Mass flow (G31)","","Max","kg/h","17.2","26.0"]
["Casing","Colour","","","","Titanium White (Ral9003)","Titanium White (Ral9003)"]
["","Material","","","","Powder painted galvanised steel plate","Powder painted galvanised steel plate"]
["Dimensions","Unit","Height","Casing","mm","590","590"]