{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":33,"n_cols":5,"rows_kept":33,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","EKEACB"]
[]
[]
[]
[]
["","","","","EKEACBVE"]
["Dimensions","Unit","Height","mm","300"]
["","","Width","mm","400"]
["","","Depth","mm","150"]
["Weight","Unit","","kg","5.10"]
["Standard Accessories","Installation and operation manual","","","1"]
["","Thermistor (R1T)","","","1"]
["","Thermistor (R2T)","","","1"]
["","Thermistor (R3T)","","","1"]
["","Thermistor (R4T)","","","1"]
["","Insulation tape 150x50","","","4"]
["","Foam rubber CR","","","4"]
["","Mounting brackets","","","4"]
["","Screws","","","4"]
["","Cable gland for terminal cover M20","","","3"]
["","Lock nut M20","","","3"]
["","O-ring diameter 20","","","3"]
["","Cable gland for terminal cover M16","","","6"]
["","Lock nut M16","","","6"]
["","O-ring diameter 16","","","6"]
["","Cable gland terminal cover stopper","","","3"]
["","Wire to wire splice","","","8"]
["","Tie wrap","","","8"]
["","Fibox key","","","1"]
["Power supply","Name","","","VE"]
["","Phase","","","1~"]
["","Frequency","","Hz","50/60"]
["","Voltage","","V","220-240/220"]